## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2012 Examinations

Programme: Architectural Engg.

Subject: Building Construction-III(4524)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Draw a sketch to show formwork for a R.C.C column footing. |  |
| b) | Sketch a plan of round column & detail the reinforcement. |  |
| c) | Sketch a detail of glass fixed to a T.W. mullion. |  |
| d) | Sketch a collar & scissors roof. |  |
| e) | Sketch a folded plate roof. |  |
| Q.No.2.a) | Answer any one of the following Questions: | (6) |
| i) | State the probable reasons for failure of R.C.C. foundation. |  |
| ii) | State reasons for preference of R.C.C. foundation over masonry foundation. |  |
| b) | Answer any two of the following: | 2 x 3 = 6 |
| i) | Sketch a R.C.C. eccentric footing for a column. |  |
| ii) | State two applications of long span structures. |  |
| iii) | What is the difference between a Framed structure and a Shell structure? |  |
| Q.No.3.a) | Explain in detail procedure for laying cement terrazzo tile finish in a panchayat office. ### OR | (12) |
| b) i) ii) | Answer the following: State any two types of flooring materials and discuss salient features of each. Differentiate between floor finishes used for indoor and outdoor purpose. | (12) |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Differentiate between steel truss and a traditional timber truss. |  |
| b) | Sketch various types of trusses in steel. Only single line sketches may be drawn. |  |
| c) | Elaborate on different types of roof coverings used for pitched roof. |  |
| Q.No.5.a) | Answer the following: | 2 x 3 = 6 |
| i) | Explain following terms: 1) Rebate 2) Hold fast 3) Bead. |  |
| ii) | Which are the different forms possible in pitched roofs? |  |
| b) | Sketch a plan of hipped end type timber roof over a room of dimensions 5m x 15m. Indicate the position of trusses also. | (6) |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Elaborate on points that a planner would consider to locate doors & windows for a house plan. |  |
| b) | State the factors that decide the size of openings in a building. |  |
| c) | Draw a double leaf panelled door & label all components. |  |

***********