## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2012 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Analytical Instrumentation(5115)

# Time Duration: 3 Hrs.                                                Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define the terms (i) Isotope (ii) Half Life as applicable to radioactive material. |  |
| b) | List 3 industrial applications where pH is monitored and controlled. |  |
| c) | With sketches of Redox electrodes, explain in brief the Redox measurements. |  |
| d) | Explain two applications of oxygen analysers. |  |
| e) | How can inventory control be used for management of spare parts? |  |
| Q.No.2. | Answer the following Questions: | 2 x 6 = 12 |
| a) | What are gas Chromatographs used for? Explain the principle of operation of a gas chromatograph. |  |
| b) | List out various detectors used for gas and liquid chromatography. Discuss any one liquid Chromatograph detector in detail. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With help of diagram explain the working of paramagnetic oxygen analyser. |  |
| b) | Discuss the technique of pH determination using Calomel electrode. |  |
| c) | Explain one method of determination of moisture content of fabric material. |  |
| Q.No.4. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain the working of a flame photometer. |  |
| b) | With the help of a neat sketch explain the working of IR spectophotometry. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the working of a liquid level guage using radiation technique. |  |
| b) | What is Geiger Muller Counter used for? Explain the working of a Geiger Muller Counter. |  |
| c) | Discuss industrial application of Radio Isotopes as tracers. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of a diagram explain the working of a Carbon-Hydrogen-Nitrogen Analyzer. |  |
| b) | Differentiate between process chromatography and laboratory chromatography. |  |
| c) | Explain the working of continuous flow analyser. |  |

***********