## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2013 Examinations

Programme: Electrical Engg.

Subject: Electrical Engineering Materials(4101)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | List out any six electrical and mechanical properties of conductor materials. |  |
| b) | List out the properties of Platinum and hence give its area of applications. |  |
| c) | State the merits of semiconductor materials used in electrical industry. |  |
| d) | Define Dielectric strength. List the factors affecting dielectric strength. |  |
| e) | What are “Ceramics”? Classify the Ceramics according to the type of raw material used. |  |
| f) | Define i) Permeability ii) Magnetomotive force (mmf) iii) Magnetic field strength. |  |
| g) | Write a short note on “Thermocouple material”. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | List out the special properties of the following material and hence give their area of applications: i) Tungsten ii) Molybdenum conductor material. |  |
| b) | What are the main alloys of Copper? List out the properties and uses of such alloys. |  |
| c) | - State the required properties of underground cable. - List out the properties of carbon as a resistive material. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss briefly Liquid Crystal Display (LCD) and Light Dependent Resistor (LDR) and their area of applications. |  |
| b) | Explain construction, features and applications of Selenium rectifiers. |  |
| c) | Explain briefly the “Hall effect” and “Hall effect generator” with diagram. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is Dielectric loss? Derive an expression dielectric loss in a dielectric. What are the factors affecting dielectric loss? |  |
| b) | Explain in brief the conduction through “Gaseous Dielectrics” with the help of graph between leakage current and applied voltage. |  |
| c) | Explain the classification of capacitors according to the dielectric used in their manufacture. Also list their applications. |  |

………2/-

-2-

| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | What are different materials used in PVC to make it suitable for use as a good insulator. Also list out the characteristics and applications of PVC. |  |
| b) | Briefly explain synthetic rubbers, their properties and applications. |  |
| c) | List out the various coolants in Electrical machinery and their area of application. Explain the necessity of coolants for electrical machines. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Briefly explain what do you mean by “Hysteresis loss” and “Magnetostriction”. |  |
| b) | Draw and explain typical hysteresis loops for i) Hard steel ii) Wrought Iron iii) Alloyed steel. |  |
| c) | List out the properties and applications of soft and hard magnetic materials. Explain the term “Bimetals” and its applications. |  |

***********