## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2013 Examinations

Programme: Architectural Engg.

Subject: Building Construction-IV(4528)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Give three features for plinth construction in the rock soil conditions. |  |
| b) | Give 3 advantages of pivoted window over timber casement window. |  |
| c) | List out 3 sources of dampness. |  |
| d) | What is meant by a flight? |  |
| e) | What are the different loads considered in designing of upper floors? |  |
| f) | Define Basements. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Sketch a detail section through a typical plinth in muram soil condition. |  |
| b) | Write a short note on: [i)Collapsible steel door [ii] Bay window. |  |
| c] | Explain with the sketches the working of any two types of rolling shutters. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Which are the different methods adapted to prevent dampness? |  |
| b) | Sketch the detail section of damp proofing treatment in basement floors. |  |
| c) | Draw a detailed section of cavity wall from window lintel to roof level. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Sketch and explain Bifurcated timber staircase. |  |
| b) | Distinguish between steel staircase and R.C.C. staircase. |  |
| c) | Sketch the detail section through a single step of timber staircase and nomanclate all its important components. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Design a timber upper floor for a space measuring 3x4m. Draw a typical plan and a part section labeling all its components and title the floor type. |  |
| b) | Draw and explain with neat detailed section through a steel Jack Arch floor. |  |
| c) | Explain various types of timber upper floors. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a detailed section and explain the water proofing treatment given to a R.C.C. sunken slab of a typical toilet. |  |
| b) | Draw a section through a R.C.C. single flight showing details of reinforcement. |  |
| c) | Explain the water proofing treatment adopted for any 3 different defects caused by dampness. |  |

***********