## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2013 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-I(4192)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Which are the different blood cells present in the blood plasma? |  |
| b) | Write in brief on agents of sterilization. |  |
| c) | What is a specific ion electrode? |  |
| d) | Explain Nernst Equation. |  |
| e) | State Lambert Beer’s Law. |  |
| f) | Explain Hot Air Oven. |  |
| Q.No.2. | Explain continuous flow analyser in detail with a neat diagram. | (12) |
| Q.No.3. | Answer any two: | 2 x 6 = 12 |
| a) | Write a short note on spectrophotometer. |  |
| b) | Describe any one test carried out on serum. |  |
| c) | Write a short note on colorimeter. |  |
| Q.No.4. | Write short note on: | 2 x 6 = 12 |
| a) | pH meter |  |
| b) | Biochemical transducers |  |
| Q.No.5. | Write a short note on any two: | 2 x 6 = 12 |
| a) | Ultrasonic vibrations |  |
| b) | Testing of disinfection |  |
| c) | Wavelength selectors |  |
| Q.No.6. | Answer the following: | 2 x 6 = 12 |
| a) | Explain Blood Cell Counter (Coulter method) with a neat diagram. |  |
| b) | Explain Blood Gas Electrode. |  |

***********