## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2013 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-II(4194)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any three of the following Questions: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | Explain the working of a positron camera. |  |
| b) | What is short wave diathermy? What are its advantages and disadvantages? |  |
| c) | How is an inverting amplifier different from a non-inverting amplifier? |  |
| d) | What is the purpose of a step function in signal processing? |  |
| Q.No.2. | Answer the following Questions: |  |
| a) | Explain any 2 respiratory therapy equipments. | (8) |
| b) | Write briefly on any two: - Infrared therapy - Microwave therapy - Ultrasonic therapy. | 2 x 2 = 4 |
| Q.No.3. | Answer the following Questions: |  |
| a) | Explain the different types of photoelectric transducers. | (8) |
| b) | Answer any two: | 2 x 2 = 4 |
|  | - How can a Wheatstone bridge be used as a transducer? - Explain the concept of a Piezoelectric transducer. - What are strain gauges? |  |
| Q.No.4. | Answer the following Questions: |  |
| a) | Explain any two basic instruments used in radiotherapy. | (8) |
| b) | Answer any two: - What is a gamma camera? - What is photomultiplier tube used for? - Write short notes on scintillation detector. | 2 x 2 = 4 |
| Q.No.5. | Answer the following Questions: | 3 x 4 = 12 |
| a) | Explain what happens when operational amplifiers are connected in tandem. |  |
| b) | What are the characteristics of an ideal operational amplifier? |  |
| c) | Explain a differential amplifier with controlled gain. |  |
| Q.No.6. | Write notes on any three: | 3 x 4 = 12 |
| a) | Damped Resonance System |  |
| b) | Amplitude distortion |  |
| c) | CMRR |  |
| d) | Fourier series |  |

***********