## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2013 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Basic Instrumentation-II(S-4216)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | With example, explain the following terms in instrumentation: (i) Linearity (ii) Drift. |  |
| b) | With example, explain the following terms in instrumentation: (i) Accuracy (ii) Precision. |  |
| c) | Explain the basic concept of ‘F’ to ‘V’ Converter and state its typical specifications. |  |
| d) | What is meant by ‘amplitude modulation’ and ‘frequency modulation’? What is their relevance in instrumentation? |  |
| e) | How are data presentation elements classified? Explain with examples. |  |
| f) | Explain the working principle and construction of incremental encoder. |  |
| Q.No.2. | Answer any two: | 2 x 6 = 12 |
| a) | Explain the working principle and construction of fiber optic transducer. How is it used in temperature & level measurement? |  |
| b) | Explain the principle, working of electrical tachometers. Compare various types. |  |
| c) | Draw the equivalent circuit of a piezoelectric crystal. Explain the modes of operation. How is piezoelectric transducer used in force measurement? |  |
| Q.No.3. | Answer any two: | 2 x 6 = 12 |
| a) | Explain the concept and typical specifications of: (i) Optical amplifier (ii) Buffer amplifier. |  |
| b) | Explain the concept, typical input – output relationship with specifications of: - A to D converter - D to A converter. |  |
| c) | What is the need for a filter? Explain the various filter types, with typical frequency response. |  |
| Q.No.4. | Answer the following: | 2 x 6 = 12 |
| a) | Write notes on any two: - Differentiator (ii) Level and gear type amplifier (iii) Charge amplifier (iv) Wheat stone bridge. |  |
| b) | Explain the terms: (i) Coupling techniques (ii) Grounding. |  |
| Q.No.5. | Write detailed notes on any two: | 2 x 6 = 12 |
| a) | Mechanical pointers |  |
| b) | Pen recorders |  |
| c) | Ultraviolet recorders |  |

………2/-

-2-

| Q.No.6. | Answer the following: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | Explain the step response specifications and frequency response specifications of a typical system. |  |
| b) | Explain the terms: (i) Threshold (ii) Dead Band (iii) Resolution. |  |

***********