## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April,2013 Examinations

Programme: Electronics Engg./EC/E/E&EE

Subject: Electronic Instrumentation(4141)

# Time Duration: 3 Hrs.                                           Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define i) Two process parameters ii) Two control system parameters. |  |
| b) | Explain the need for signal conditioning. |  |
| c) | Explain nuclear method of thickness measurement. |  |
| d) | How does photo voltaic cell work? |  |
| e) | State characteristics of Data Acquisition System. |  |
| f) | Explain shaft encoder. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are the different photoelectric transducers? Explain working of photo multiplier tube with neat diagram. |  |
| b) | Draw block diagram of Instrumentation system & explain it. State advantages of electrical transducers over mechanical transducers. |  |
| c) | With neat diagram, explain the different ways in which capacitive transducers attain variation in capacitance. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain how Pirani gauge can be used to measure low pressure. |  |
| b) | Explain how thickness can be measured using ultrasonic method. |  |
| c) | Explain the working principle of DC tachometer with neat diagram. Give its advantages & disadvantages. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the working of turbine flow meter. State its advantages & disadvantages. |  |
| b) | Explain two techniques of sound measurement. |  |
| c) | Explain the working of LVDT with neat diagrams. Mention its two applications. Also give two advantages & disadvantages. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the block diagram of Data Logger. |  |
| b) | Explain ac signal conditioning system with neat block diagram. |  |
| c) | Explain Data Acquisition System with neat diagram. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the function of actuators with examples. |  |
| b) | Explain the elements of final control operation. |  |
| c) | Write short note on process characteristics. |  |

***********