## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2014 Examinations

Programme: Electrical & Electronics Engg.

Subject: Fundamentals of Refrigeration & Airconditioning(5090)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define the term C.O.P. |  |
| b) | Represent the vapour compression cycle on T-S diagram when the vapour is dry & saturated at the end of compression. |  |
| c) | Name the different parts of simple vapour absorption system & state their functions. |  |
| d) | What is Hermetically sealed compressor? Give its merits. |  |
| e) | What is the function of air filter in A/c system? How are air filters classified? |  |
| f) | What are the applications of domestic refrigerator? |  |
| g) | What are the difference between refrigeration & Air conditioning? |  |
| Q.No.2. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | State and explain second law of Thermodynamics. |  |
| b) | What is evaporator? Explain a ‘Flooded type evaporator’. |  |
| c) | Define Refrigerant. Differentiate between primary & secondary Refrigerant. Give examples. |  |
| d) | What are the advantages of vapour compression system over vapour absorption system? |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of a neat sketch explain the construction & working of Electrolux refrigerator. |  |
| b) | With the help of P-H diagram explain the effect of superheating and subcooling on the performance of vapour compression system. |  |
| c) | (i) Mention the components fitted to simple vapour absorption system to make it more practical. Mention their functions. |  |
|  | (ii) Name the different parts of vapour compression system & state their functions. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain briefly with neat sketch a sling Psychrometer. |  |
| b) | Describe the following processes with neat sketch: |  |
|  | (i) Cooling & Humidification (ii) Heating & dehumidification. |  |
| c) | (i) Define RSHF & GSHF. |  |
|  | (ii) Define specific humidity & wet bulb depression. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With neat sketch explain the construction & working of Ice plant. |  |
| b) | Explain in brief automatic temperature control & air movement control. |  |
| c) | (i) What is the purpose of cold storage? |  |
|  | (ii) Explain Radiator. |  |
|  |  | …..2/- |
|  | -2- |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Automatic Humidity Control b) Central Air Conditioning plant |  |
| c) | Green House Effect d) Thermostatic Expansion valve |  |

***********