## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2014 Examinations

Programme: Civil Engg./CT

Subject: Public Health Engineering(4015)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Draw a neat flow diagram of a sewage treatment plant. |  |
| b) | What is the significance of detention period in design of sedimentation tank? |  |
| c) | Mention different types of pipes used for water supplies. |  |
| d) | Draw a neat sketch of sludge drying beds. |  |
| e) | State the location and use of five hydrants. |  |
| f) | Draw a double stack system of sanitary plumbing. |  |
| g) | Draw a sketch of vertical pressure filter used in water treatment. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are the sources of surface water and ground water? Which of these sources are suitable for (i) Rural water supply scheme (ii) Urban water supply scheme. |  |
| b) | State the types of tests conducted under physical, chemical and biological tests for treating water. What is the significance of each test? |  |
| c) | What is per capita demand? With aid of graph explain the variation in demand. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat sketch explain the working of following units in treatment of water i) Aerator ii) Clan-flocculator. |  |
| b) | What is break point chlorination? Explain its action as disinfectant on treatment of water. |  |
| c) | What are requirements of good distribution system? Draw a neat sketch of various types of distribution system. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat sketch showing internal distribution of water supply in a building with location of pipelines and position of all fixtures & fittings. |  |
| b) | With a sketch explain the necessity of providing manhole in a sewer line. |  |
| c) | What is meant by ‘Water carriage system’? State the merits & demerits of this system. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat sketch of different types of trap & inspection chambers used for residential buildings & explain in brief. |  |
| b) | With the help of neat sketch explain trickling filters. |  |
| c) | What are types of solid wastes? How are they collected & disposed? |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Importance of Environmental protection |  |
| b) | Requirements of wholesome water |  |
| c) | Service Reservoir |  |
| d) | Aerobic & Anaerobic decomposition |  |
| e) | Storage of refuse |  |

***********