## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2014 Examinations

Programme: Electrical Engg./E&EE

Subject: Switchgear & Protection(4110)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Classify the different types of faults occurring in a power system. Also state their frequency of occurrence. |  |
| b) | What is the purpose of current limiting reactor in a power system? |  |
| c) | Classify the fuses. |  |
| d) | A rewirable fuse is to be used to protect electrical equipment having 10A rating. What should be the rating of fuse in order to protect the equipment under fault condition? |  |
| e) | Classify the MCB and give their application. |  |
| f) | Define: i) Restriking voltage ii) Recovery voltage iii) Rate of rise of Restriking voltage. |  |
| g) | Define: i) Relay pickup ii) Reset of relay iii) back up protection. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of neat circuit diagram explain the working of current operated ELCB. |  |
| b) | State the constructional features of Air circuit breaker. Also state its voltage and current rating and give its application. |  |
| c) | With reference to MCCB: - State its rating - Give its constructional features in brief - Also draw its block diagram & explain its working in brief. | (1) (2) (3) |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Classify SF6 circuit breakers. Which type of such circuit breaker is prominently used? Also state all the parts of it and also state its principle of operation. | (1½+1+2½+1) |
| b) | With reference to a circuit breaker, list out its rating. Also define its - Rated making capacity - Rated breaking capacity - Short time capacity. Also give relationship between them. | (3+3) |
| c) | State all the important parts of air blast circuit breaker. Also explain its operation in brief. Also specify its rating | (2+3+1) |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of neat diagram explain the working of thermal over current relay and where is such relay used. |  |
| b) | State at least four advantages and four disadvantages of a static relay. Also draw the block diagram of a static relay used for differential protection. |  |
| c) | Classify Impedence relay. Also differentiate between the classified types of impedance relay. Explain its working principle in brief. Also classify distance relays. |  |

………2/-

-2-

| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | State the faults one comes across in an alternator. Draw a neat circuit diagram to indicate the protection of star connected stator windings of alternator against earth fault by using biased differential scheme of protection. |  |
| b) | Draw a neat circuit diagram to indicate the use of Merz price differential scheme of protection in protecting a delta/star connected with neutral grounded power transformer against earth fault. |  |
| c) | A 3 phase, 50 Hz synchronous generator of 30MVA, 11 KV is earthed through neutral earthing resistor of 3 ohms. The generator winding is to be protected by Merz price protection connected by CTS of ratio 1500/5A. The relay is set to operate for an unbalance current of 0.75A. Find the minimum value of earthing resistance required to protect 80% of winding. Also give the percentage of winding protected against earth fault for the above mentioned value of neutral earthing resistance. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of neat circuit diagram explain the protective scheme used in protection of three phase induction motor against single phasing. |  |
| b) | State the points to be considered during the selection of a particular protection scheme for motor protection. What is the cause of unbalance supply voltage in motor? Also state its effects. |  |
| c) | Explain with the help of neat block diagram carrier current scheme of protection in brief. For which portion of power system does it provide protection? Also state the effect against which it provides protection. |  |
| d) | What is the importance of busbar protection? Explain with the help of neat diagram the time graded scheme of overcurrent protection for radial feeders. What are its drawback? |  |

***********