## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2014 Examinations

Programme: Mechanical Engg.

Subject: Power Plant Engineering(5037)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What do you understand by nuclear fission? Explain in brief. |  |
| b) | Define the following terms: (i) Load factor (ii) Demand factor (iii) Average load. |  |
| c) | What are the advantages of hydro-electric power plant? |  |
| d) | Why is feed water treatment necessary before supplying to the boiler? |  |
| e) | What are the different types of fuels used for steam generation? |  |
| f) | Give the advantages and disadvantages of Gas turbine power plant. |  |
| g) | Explain the mechanism of cooling of hot water in cooling towers. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | A residential load of a locality is given below: Time (Hrs); 0-5; 5-6; 6-9; 9-18; 18-21; 21-24. Load (KW); 2; 6; 20; Zero; 12; 8. Draw the load curve and find out the load factor and energy consumed during 24 hrs. |  |
| b) | Explain the following systems of I.C. engine power plant. (i) Fuel system (ii) Engine starting system. |  |
| c) | Explain with a neat sketch, the working of storage type hydro- electric power plant. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What do you understand by the closed cycle gas turbine plant? What are its advantages over open cycle plant? |  |
| b) | With the help of neat sketch, explain the various steps involved in the preparation of coal. |  |
| c) | Draw a neat layout of ash handling plant and explain its working. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat sketch explain the working of cyclone burner. |  |
| b) | Draw a general layout of water treatment plant and explain the importance of water treatment in steam power plant. |  |
| c) | What are the various methods of coal handling? |  |

………2/-

-2-

| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | With a neat sketch explain the construction and working of forced draft cooling tower. |  |
| b) | Explain with a neat sketch Pressurized water reactor. |  |
| c) | Draw a layout of nuclear reactor and explain its main components. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Load curve and its significance in power generation |  |
| b) | Lubrication system in diesel power plant |  |
| c) | Functions of Gas loop in thermal power station |  |
| d) | De-aeration process |  |
| e) | Site selection for hydal power plant |  |
| f) | Hyperbolic cooling tower |  |

***********