## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2014 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-IV(4197)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) Q.No.1 is compulsory. Answer any five from the remaining questions.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What is meant by information content of an image? |  |
| b) | What is macroshock? |  |
| c) | Write a short note on speech Audiometer. |  |
| d) | What is the nature of X-Rays? |  |
| e) | Write a short note on Bladder Stimulator. |  |
| f) | Write a note on cutting & coagulation frequency. |  |
| g) | List the applications of Telemedicine. |  |
| Q.No.2. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain with the block diagram the principle and working of a CT scanner. |  |
| b) | Explain the working of Ultrasound Imaging systems with neat diagram. |  |
| Q.No.3. | What is Lithotripsy? Explain Drug delivery systems. Also enlist the applications of LASERs in medicine. | (12) |
| Q.No.4. | Write short note on: | 2 x 6 = 12 |
| a) | Surgical Diathermy Analyser |  |
| b) | Return Electrode |  |
| Q.No.5. | Write short note on: | 2 x 6 = 12 |
| a) | Evoked response Audiometry system |  |
| b) | Pure tone Audiometer |  |
| Q.No.6. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Write a short note on computer based ECG analysis. |  |
| b) | What does a computer catheterisation laboratory comprise of? Explain. |  |
| Q.No.7. | Answer the following Questions: | 2 x 6 = 12 |
| a) | What are the electric shock hazards faced in hospitals? |  |
| b) | Write a note on Hemodialysis. |  |
| Q.No.8. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Image Resolution and Noise Equivalent Bandwidth |  |
| b) | Leakage Current |  |
| c) | Techniques used in Telemedicine |  |
| d) | Infant Incubator |  |

***********