## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2014 Examinations

Programme: Architectural Engg.

Subject: Building Services-II(4533)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain the meaning of ‘Thermal Insulation’. |  |
| b) | What are combustible materials? Name any two combustible materials. |  |
| c) | What is air conditioning? List its purpose in the various area of use. |  |
| d) | What is meant by ‘Mechanical Ventilation’? |  |
| e) | Define Thermal conductivity of a material. What is its significance in choosing for thermal insulation? |  |
| f) | What is the function of the Evaporator in the A/C unit? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | List down and briefly explain the various fire extinguishing equipments you would use in a high rise building. |  |
| b) | In a twenty storied (multistoried) commercial building, what kind of a fire alarm system will you install. Give reasons and elaborate. |  |
| c) | Compare the fire resisting properties of Steel with R.C.C. In view of this, what would you suggest in a fire resistant construction, a steel column or a R.C.C. column. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain and draw sketches to show thermal insulation adopted for slopping roofs. |  |
| b) | Explain general principles of thermal insulation. |  |
| c) | Explain the thermal insulation adopted for roofs, walls and floors using any two types of thermal insulation material. |  |
| Q.No.4. | Answer the following Questions: | 2 x 6 = 12 |
| a) | What do you mean by humidification and dehumidification? Briefly explain why and how each is carried out. |  |
| b) | Name the methods of Mechanical Ventilation and describe any one. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Mention the precautionary measures, which can be taken to avoid or minimise danger of fire. |  |
| b) | Write short notes on: - Protection of openings from fire - Means of fire escape |  |
| c) | What do you understand by reverberation? Define reverberation time and optimum time of reverberation. Briefly comment on the optimum time of reverberation in a music hall as compared to that of a Lecture hall. |  |

………2/-

-2-

| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | Explain different materials that are used for Sound Insulation. |  |
| b) | What are the conditions for good acoustics in an Auditorium? |  |
| c) | Define Acoustics and name atleast 3 types of Noise, which can be controlled by using acoustical materials. |  |

***********