## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2014 Examinations

Programme: Architectural Engg.

Subject: Building Services-I(4530)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions in brief: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain Catchment Area. |  |
| b) | Sketch any 3 types of pipe joints. |  |
| c) | Explain rain water disposal. |  |
| d) | Give 3 considerations for locating sanitary units in a house. |  |
| e) | Explain any 3 types of switches used in operating electrical fixtures. |  |
| f) | Which are the typical 3 wires used in wiring any electrical plug point? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Sketch and explain: - Bibcock for kitchen sink - Water meter - Stop cock for flushing tank. |  |
| b) | Give 6 points to be considered in the maintenance of a water supply in a house. |  |
| c) | Sketch and explain 3 important surface sources of water supply. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 9 = 18 |
| a) | Explain the working of a septic tank and soak pit for sewage disposal of a Residential Building. |  |
| b) | Sketch any 6 sanitary fittings in a toilet of a Residential house. |  |
| c) | Write notes with sketches: i) Fire hydrant ii) Ventilation of drains iii) Drop Manhole. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Give 3 advantages and 3 disadvantages of concealed wiring. |  |
| b) | Sketch any 6 types of electrical fixtures in a toilet and Bedroom. |  |
| c) | What instructions are required along with an electrical layout for site executions? Give 6 points. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 9 = 18 |
| a) | Sketch a detailed section through an overhead water tank labelling all its parts. |  |
| b) | Make a layout of electrical points as required for the plan as given in the figure ‘A’ attached. Give all details as required for the purpose of site execution. |  |
| c) | Show a layout of sewage disposal by septic tank and water supply layout for the plan shown in figure ‘A’. Label all details. |  |

………2/-