## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2014 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Industrial Instrumentation(4218)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain the term Vena contracta. State the application of an eccentric orifice plate. |  |
| b) | Draw a diagram showing 3 wire and 4 wire RTD connection. |  |
| c) | Draw the line diagram to show the relationship between atmospheric, vacuum absolute and gauge pressure. |  |
| d) | Explain why mercury is used in manometers. |  |
| e) | List inherent errors in Bourdon tube and suggest remedies. |  |
| f) | Explain soap film burette method of flow calibration. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the working of TDT and Doppler type of ultrasonic flow meter. |  |
| b) | State the advantages of positive displacement flow meters. Explain the working of any one type. |  |
| c) | List the various types of orifice plates. Explain how orifice plate is used in flow measurement. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the construction of RTD with the help of a diagram. Sketch the characteristics of Pt 100 RTD. State the relationship between input and output. |  |
| b) | Explain the working of a radiation pyrometer with the help of a diagram. |  |
| c) | With the help of a diagram explain the working of a vapour pressure thermometer. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the working of a Mcleod gauge with the help of a diagram. State the pressure range. |  |
| b) | Discuss the need for a P to I converter. Explain the working of a P to I converter with the help of a diagram. |  |
| c) | State the principle and explain the construction and working of a capacitive pressure transducer. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the working of radiation level detector with the help of diagram. |  |
| b) | Explain the working of a level measurement system based on the hydro static pressure. |  |
| c) | Discuss servicing techniques of different types of level measuring instruments. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | State application of I to V and V to I converters. Draw circuits of V to I and I to V converter. |  |
| b) | Draw the block diagram and explain the working of a closed loop pressure control system. |  |
| c) | Explain technique of measurement of flow in open channels. |  |

***********