## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2014 Examinations

Programme: Electronics Engg./EC/E/E&EE

Subject: Electronic Instrumentation(4141)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Differentiate between primary & secondary transducers. Give three points. |  |
| b) | Give three advantages of electrical transducers over mechanical transducers. |  |
| c) | What is the principle of electromagnetic flow meter? |  |
| d) | What is the need for signal conditioning? Give three points. |  |
| e) | Write function of controller, Actuator and Final control element of process control system. |  |
| f) | What is the principle of low pressure measurement? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are the characteristics of good transducers? Give six points. |  |
| b) | Explain any one type of bonded metal wire strain gauge with a neat diagram. |  |
| c) | Explain the working of LVDT with the help of neat diagram. Give its two advantages. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain turbine flow meter with the help of neat diagram. |  |
| b) | Explain angular speed measurement using stroboscope with the help of neat diagram. |  |
| c) | What is seismic transducer? Explain piezoelectric accelerometer for measurement of vibration with the help of a neat diagram. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is the drawback of DC signal conditioning system? Explain the block diagram of AC signal conditioning system to overcome this problem. |  |
| b) | Explain the working of instrumentation amplifier with the help of a neat diagram. |  |
| c) | Explain the block diagram of data logger. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain multi position discontinuous controller mode with the help of controller output versus error input waveform. |  |
| b) | Draw the block diagram of Direct Digital control and explain its working. |  |
| c) | Draw the block diagram of final control operation of a process control system & explain its working. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Shaft encoder |  |
| b) | Data Acquisition system |  |
| c) | Thermocouple vacuum gauge |  |
| d) | Resistive Hygrometer |  |

***********