## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2014 Examinations

Programme: Civil Engg.

Subject: Maintenance of Civil Engineering Structures(5003)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain how building drainage maintenance work is carried out. |  |
| b) | How labour component affects the maintenance work? |  |
| c) | Explain how maintenance of surface finishes is carried out. |  |
| d) | Enlist the various steps taken for inspection of water treatment plant. |  |
| e) | How the maintenance of water proofing works is carried out? |  |
| f) | List out the post-monsoon repair works required for WBM roads. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain how maintenance of lifts in multistoried buildings is carried out. |  |
| b) | List the common structural defects in buildings. Explain the procedure for repairs of any three of such defects. |  |
| c) | Write a brief note on: Maintenance management. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With reference to the water treatment plant, explain the defects and repair procedure for i) Filters ii) Pipelines for water supply. |  |
| b) | Explain the safety precautions required to be taken in maintenance of sewers. |  |
| c) | Explain the necessity of maintenance of structures. What will be the effects of not taking up building maintenance work regularly? |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a brief note on maintenance of service roads. |  |
| b) | Explain the procedure for repair of bituminous roads. |  |
| c) | List down the various defects in concrete roads. Explain the repair procedure for any two of them in detail. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain in brief how routine inspection of hydraulic structures is taken up. |  |
| b) | Enlist the special repair techniques adopted for hydraulic structures. Explain in detail any two of them. |  |
| c) | What are the causes of inefficient working of canals? Explain any two of them in detail. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Types of maintenance works |  |
| b) | De-weeding of irrigation canals |  |
| c) | Maintenance of shoulders |  |
| d) | Leakage and losses in pipes |  |

***********