## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Architectural Engg.

Subject: Building Services-II(4533)/(AE403) [Old/Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 2 = 10 |
| --- | --- | --- |
| a) | Which are the factors present in the air that the air-conditioner controls? |  |
| b) | What are the disadvantages of natural ventilation? |  |
| c) | Name any 3 methods in which heat transfer takes place in a building. |  |
| d) | Why is acoustical design important to be considered in a building? |  |
| e) | What is the function of a sound insulting material? |  |
| f) | What is a wet riser system in a fire resistant building? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | How can the natural ventilation of a building be increased? |  |
| b) | Differentiate between a centrally air conditioned system and a unitary air-conditioned system. |  |
| c) | Explain the various components of an air–conditioning system including distribution system. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss any 2 types of thermal insulating materials. |  |
| b) | Write short notes on: i) Heat insulation by orientation ii) Heat insulation by proper height of ceiling. |  |
| c) | Explain with examples: i) External thermal insulation of roofs ii) Internal thermal insulation of roofs. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are the basic requirements to be considered for the acoustical design of a recording studio? |  |
| b) | What is the advantage of using composite absorbers as an acoustical material? |  |
| c) | Identify areas in a large hall, which cause objectionable sound reflection. What measures can be taken to prevent it? |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss with neat diagram any 2 methods of sound insulating the floor of a building. |  |
| b) | Explain with neat diagrams the sound insulation for the following walls: i) Double partition wall ii) Cavity walls. |  |
| c) | Explain with a neat sketch the sound insulation for the ceiling of a multipurpose hall. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the fire protection given to basements. |  |
| b) | Explain with a neat sketch the Automatic sprinkler system layout for a room of 10 x 20 metres and height 3 m. |  |
| c) | Give any 6 points to be considered while providing fire resistant floor & roofs. |  |

***********