## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Electrical Engg./E&EE

Subject: Electrical Measurements & Instruments(4103) [Old]

# Time Duration: 3 Hrs.                                           Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | List the static and dynamic characteristics an Instrument should possess. |  |
| b) | What do you mean by ‘Damping’ with respect to a measuring instrument? Why is it required? |  |
| c) | What are the main sources of error in moving coil instruments? Explain. |  |
| d) | Draw a neat circuit diagram for measurement of power using two Wattmeters in 3, 4 wire circuit. |  |
| e) | Explain ‘friction compensation’ and ‘creeping error’ in Induction Watt hour meters. |  |
| f) | Why is a short circuiting link provided on the secondary side of a current transformer? |  |
| g) | What is Earth Tester? |  |
| h) | Give the classification of resistances & mention the methods for measurement of the same. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the following terms: i) Resolution ii) Sensitivity iii) Stability. |  |
| b) | Briefly give the classification of measuring instruments based on various effects of electric current. (give one example of each) |  |
| c) | The moving system of an indicating type of instrument is subjected to different types of torques. Explain. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | How is deflecting torque and controlling torque produced in following instruments i) Moving iron & ii) PMMC. |  |
| b) | Explain briefly the working principle of moving iron type instrument. |  |
| c) | State the constructional features of PMMC instrument with the help of a neat sketch. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is the effect of power factor on the readings of the two Wattmeters in two wattmeter method of measurement of power i) COS  =0 ii) COS  =1 iii) COS  = 0.5. |  |
| b) | Explain briefly any one method of adjusting the mmf of the lag coil. |  |
| c) | With the help of a neat sketch describe the constructional features of a Dynamometer type wattmeter. |  |
| d) | Discuss any four Wattmeter errors. |  |

………2/-

-2-

| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | Explain construction of single phase Induction type Energy meter. |  |
| b) | What are the different problems associated with measurement of low resistance? Explain the principle of working of a Kelvin’s Bridge. |  |
| c) | Illustrate with a neat circuit diagram the measurement of power in a 3 phase, 3 wire circuit by 2 Wattmeter method in conjunction with CT & PT. |  |
| Q.No.6. | Write short notes on any two: | 2 x 6 = 12 |
| a) | Phase Sequence Indicator |  |
| b) | Frequency meter |  |
| c) | Principle of working of Ohm meter |  |
| d) | Extension of range of single phase Energy meter using CT & PT |  |

***********