## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-I(MX303) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What is an Oscilloscope and its types? |  |
| b) | Describe Recording Electrodes. |  |
| c) | Importance of computers in clinical laboratory. |  |
| d) | Mention different methods of cell counting in brief. |  |
| e) | What is pulmonary function measurement? |  |
| f) | Describe colorimeters in short. |  |
| Q.No.2. | Write short notes on: | 2 x 6 = 12 |
| a) | Microprocessor based Spectrophotometers |  |
| b) | Automatic optical method of cell counting |  |
| Q.No.3. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain Flow volume curve. |  |
| b) | Explain Electrode tissue Interface. |  |
| Q.No.4. | Explain the following with an appropriate diagram: | 2 x 6 = 12 |
| a) | Automated Biochemical analysis system |  |
| b) | Coulter counters |  |
| Q.No.5. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Explain Respiratory volumes and capacities with a neat diagram. |  |
| b) | Describe cell identification system with a neat block diagram. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Difference between DSO & CRO |  |
| b) | Motion artifacts |  |
| c) | Sterilization and its agents |  |
| d) | Picoscale |  |
| e) | Nitrogen washout technique |  |

***********