## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Food Technology

Subject: Industrial Water & Waste Treatment(4274)/(FT406) [Old/Rev.]

# Time Duration: 3 Hrs.                                           Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer the following Questions: |  |
| --- | --- | --- |
| a) | Discuss in brief the principle involved in the estimation of: i) Total solids ii) Bicarbonates iii) Nitrogen iv) Sulphates. | (9) |
| b) | With a help of a graph explain the terms chlorine dosage, breakpoint chlorination and residual chlorine. | (6) |
| Q.No.2. | Answer the following Questions: |  |
| a) | Discuss in detail the physical characteristics of water. | (6) |
|  | ### OR |  |
| a) | Comment on the uses of water for Municipal & Industrial use. Discuss in brief the general purification methods of water. | (6) |
| b) | What are indicator Microorganisms? Give examples and state their significance. | (6) |
| Q.No.3. | Write short notes on any three: | 3 x 4 = 12 |
| a) | MPN |  |
| b) | BOD |  |
| c) | Disinfection methods |  |
| d) | Quality of portable water |  |
| Q.No.4. | How would you? (any 3) | 3 x 4 = 12 |
| a) | Determine the hardness of a water sample |  |
| b) | Determine the coliform count of a water sample |  |
| c) | Determine the chloride content of a water sample |  |
| d) | Determine the COD of a waste sample |  |
| Q.No.5. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Discuss in detail the water softening methods used in water treatment. |  |
| b) | Discuss in detail the tests done to carry out a microbial analysis of a water sample. |  |
| Q.No.6. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Discuss in detail the characteristics of the following waste: i) Brewery ii) Fruit & vegetable |  |
|  | ### OR |  |
|  | i) Meat processing ii) Dairy. |  |
| b) | With the help of a neat flow chart explain a typical water treatment plant. Comment on the common impurities present in water. |  |

***********