## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Electrical Engg./E&EE

Subject: Electrical Measurements & Instruments(EE303) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define the terms ‘Indicating instruments’, ‘Recording instruments’ and ‘Integrating instruments’. Give examples of each case. |  |
| b) | Describe the various operating forces needed for the proper operation of an analog indicating instrument. |  |
| c) | Give reasons why the rotating disc in an Energy meter is made of aluminium. State the unit in which energy is measured. |  |
| d) | Draw the two types of connection employed for the measurement of medium resistance by Ammeter Voltmeter method. |  |
| e) | Explain how the range of an ammeter can be extended by using shunts. |  |
| f) | Draw a neat circuit diagram used to extend the range of single phase Energy meter by using CT & PT. |  |
| g) | Give the applications of the following: i) Phase sequence indicator ii) Megger iii) Trivector meter. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Describe the constructional details of an attractive type M.I. instrument with the help of a neat diagram. |  |
| b) | Compare PMMC and MI instruments. |  |
| c) | - What do you mean by ‘Loading effect of Voltmeter’? - Explain the advantages of rectifier type instruments. | (3) (3) |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain how power can be measured in a 3-phase circuit with the help of 2 Wattmeters. Illustrate your answer with the help of a phasor diagram for a balanced star connected load. |  |
| b) | List various Wattmeter errors. How are these errors minimised? |  |
| c) | Draw a neat sketch of the dynamometer type single phase Wattmeter and name its various parts. Explain its principle of operation. |  |
| Q.No.4. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | Explain the sources of errors in single phase induction type Energy meter. |  |
| b) | State the disadvantages of using Wheatstone bridge in low resistance measurement. |  |
| c) | Explain why controlling torque is required in indicating instrument. Describe in brief the various forms of producing controlling torque. |  |
| d) | Write a short note on ‘Earth tester’. |  |
|  |  | …….2/- |
|  | -2- |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | - What are absolute and secondary instruments? - Give the classification of instruments based on the permissible limits of errors. | (3) (3) |
| b) | List the advantages and disadvantages of ‘Air friction damping’ and ‘Eddy currents damping’. |  |
| c) | Draw a neat sketch of single phase induction type Energy meter, label its different parts and explain its principle of operation. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat circuit diagram used to extend the range of Wattmeter for measurement of power in 3-wire, 3-phase circuit by using 2 Wattmeters with CTs and PTs. |  |
| b) | Explain the principle of operation of single phase electrodynamometer type power factor meter with the help of neat diagram. |  |
| c) | Explain the working of Kelvin’s double bridge with the help of a diagram. |  |

***********