## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Mechanical Engg.

Subject: Mechatronics(ME403) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Compare traditional with mechatronics approach. |  |
| b) | What is a transducer? How is a Sensor different from a Transducer? |  |
| c) | Define the following with respect to Sensors/ Transducers: i) Range ii) Sensitivity iii) Stability. |  |
| d) | State the need for Analog to Digital Conversion (ADC) and Digital to Analog Conversion (DAC). |  |
| e) | What are Actuation systems? Classify different actuators used in mechatronic system. |  |
| f) | Compare microprocessor with microcontroller. |  |
| g) | What is PLC? Why there is need for PLC in Industry? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is closed loop control system? With neat sketch explain the different elements of closed loop control system. List two advantages, two disadvantages, two applications of closed loop control system. |  |
| b) | With neat sketch explain the working principle of LVDT. Also draw LVDT output curve. |  |
| c) | With a neat sketch explain the working of Thermistors. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is Data Acquisition system? With the help of block diagram explain in brief Data Acquisition system. |  |
| b) | With neat sketch explain in brief various elements of Pneumatic system. |  |
| c) | What are Direction Control Valves? With neat sketch explain working of a spool type 3/2 Direction Control Valve. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is the function of Pressure Control valves in a system? With neat sketch explain the working of Pressure reducing valve. |  |
| b) | With block diagram explain the various basic components of Microprocessor system. |  |
| c) | What is Ladder Programming? Explain the process of PLC program scan. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are Logic Functions? Explain with Ladder Program following Logic Functions: i) AND LOGIC ii) NOR LOGIC. |  |
| b) | What is Latching circuit? Explain with Ladder diagram start and stop of a Motor. |  |
| c) | With the help of block diagram explain in brief Automatic camera as an application of mechatronic system. |  |
|  |  | ……2/- |
|  | -2- |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Strain Gauge Load cell |  |
| b) | Electrical Actuators: Relays |  |
| c) | Classification and applications of Microcontroller |  |
| d) | Counter feature used in PLC Ladder Logic |  |
| e) | MEMS |  |

***********