## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-II(4194) [Old]

# Time Duration: 3 Hrs.                                           Max. Marks: 75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Write short notes on any three with appropriate diagram wherever applicable: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | Use of cryogenic in Medicine |  |
| b) | Rectilinear Scanner |  |
| c) | Inductive transducer |  |
| d) | Buffer amplifier for a differential amplifier |  |
| e) | Fourier series |  |
| Q.No.2. | Explain with a neat diagram: | 3 x 4 = 12 |
| a) | Damped Resonant Systems |  |
| b) | Operational amplifiers in tandem |  |
| c) | Strain Gauges |  |
| Q.No.3. | Write short notes with appropriate diagrams: | 2 x 6 = 12 |
| a) | Rectilinear scanner |  |
| b) | Gamma camera |  |
| Q.No.4. | Answer the following Questions: | 2 x 6 = 12 |
| a) | What is Radiation therapy and how it can be used in Medical field? |  |
| b) | What is thermo therapy? Explain any one method in brief. |  |
| Q.No.5. | Write in brief on: |  |
| a) | Buffer amplifier for a differential amplifier | (3) |
| b) | Photo emissive transducer | (4) |
| c) | Amplitude distortion | (2) |
| d) | Nebulizers | (3) |
| Q.No.6. | Write short notes on the following: | 3 x 4 = 12 |
| a) | Positron camera |  |
| b) | Microwave thermo therapy |  |
| c) | Thermister |  |

***********