## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Electrical & Electronics Engg.

Subject: Fundamentals of Refrigeration & Airconditioning(5090) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | State “Kelvin Planck Statement” and “Clauses Statement” in second law of thermodynamics. |  |
| b) | Define Refrigerant. How are refrigerants designated? |  |
| c) | Sketch the flow diagram of a simple vapour compression refrigeration system (VCRS) and indicate HP side and CP side on the same. |  |
| d) | Name the different components/parts of a simple vapour absorption system. |  |
| e) | What do you understand by Hermetically sealed compressor? Give its advantages. |  |
| f) | Explain the following: i) DBT ii) WBT iii) Specific humidity. |  |
| g) | What are the various controls used in refrigeration and Air conditioning? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Sketch the T-S and P-H diagram for the vapour compression cycle and show dry saturated and wet compression on the same. |  |
| b) | - What is one tonne of refrigeration? Give its value in KW. - State the function of condenser in vapour compressor system of refrigeration. |  |
| c) | What is sub cooling and superheating? Discuss their effect on the performance of vapour compressor system. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | - What is sensible cooling with the help of simple sketch? Show the processes on Psychrometric chart. - Explain 1) Dry Air 2) Saturated air. |  |
| b) | Why is evaporator used in refrigeration systems? With the help of neat sketch explain floaded type of evaporator. |  |
| c) | With the help of Psychometric chart explain the following processes: i) Heating and humidification ii) Cooling and dehumidification. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain with a neat sketch construction and working of a Thermostatic expansion valve. |  |
| b) | Describe briefly with a neat sketch Window Air conditioner. |  |
| c) | - Define and show the following on Psychrometric chart, RSHF and GSHF. - Define specific humid and wet bulb depression. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Sketch the advantages and disadvantages of central Air conditioning over Window Air conditioning. |  |
| b) | What is purpose of a fan Air conditioning? How are fans classified? Explain any one in brief. | ….2/- |
|  | -2- |  |
| c) | Explain Thermostats and automatic humidity control. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Green house effect |  |
| b) | Coefficient of performance |  |
| c) | Automobile air conditioning |  |
| d) | Electrolux refrigerator |  |

***********