## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Basic Instrumentation-II(4216) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain the classification of signal conditioning element with examples. |  |
| b) | Explain the application of V to I converter in instrumentation with an example. |  |
| c) | Explain the terms: response time, rise time, settling time. |  |
| d) | Draw the circuit diagram of an op amp integrator circuit and write the equation for output voltage. |  |
| e) | Explain coupling techniques in instrumentation. |  |
| f) | Draw the circuit diagram of a two pass filter and sketch the frequency response. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw the equivalent circuit of Piezo electric crystal and explain how it is used for measurement of force. |  |
| b) | Explain the construction and working of moving coil type of transducer. |  |
| c) | Explain the construction and principle of working of a fibre optic transducer used for level measurement. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the construction and working of a Pneumatic amplifier. |  |
| b) | Compare Amplitude Modulation and Frequency Modulation with the help of waveforms. |  |
| c) | Draw the circuit of a DC amplifier and explain the working. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the construction and working of a pen recorder. |  |
| b) | Draw the block diagram of a CRO and explain the function of the different blocks. |  |
| c) | Explain the construction and working of a Visual Display device. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Compare Accuracy and Precision with help of an example. |  |
| b) | Explain the response of a first order system to a unit step input with help of waveform. |  |
| c) | Explain the terms: Linearity, Resolution and Drift. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | V to F converter |  |
| b) | Grounding & Shielding techniques |  |
| c) | Analog to Digital conversion |  |
| d) | Displacement measurement system |  |

***********