## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Common

Subject: Elements of Electrical Engineering(3001) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Mention 3 differences between wire and cable. |  |
| b) | Explain polarity test of switches with a neat diagram. |  |
| c) | - Define earthling. - How is a person saved against electric shock by earthing? Explain. |  |
| d) | Mention 3 advantages of transformer. |  |
| e) | Mention 3 comparisons between D.C. Series motor & D.C. Shunt motor. |  |
| f) | i) What is the necessity of starter in an A.C. motor? ii) Name the A.C. starters for squirrel cage motor. |  |
| g) | Write short note on switch fuse unit. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of a neat labelled diagram, explain construction of PVC insulated armoured cable. |  |
| b) | Mention any three advantages & disadvantages each of overhead distribution system over underground distribution system. |  |
| c) | Mention any 6 advantages of PVC cables. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain insulation test between conductors with a neat diagram. |  |
| b) | - Mention three advantages of conduit wiring. - Calculate the electricity bill for the following load for 30 days at the rate of Rs.1.20/- per unit: 1) 3 bulbs 100W each, 7 hours a day 2) 1 electric iron, 350W each, 50 minutes a day. |  |
| c) | Sate & explain any six methods of reducing earth resistance. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | i)Define primary winding, secondary winding & regulation of transformer. ii)Mention the specifications of transformer for procurement. |  |
| b) | i) Describe briefly the construction of transformer. ii)What will happen if D.C. supply is given to the transformer? Why? |  |
| c) | Explain the working principles of D.C. motor with a neat diagram. Also write the expression for back e.m.f. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw the graph and explain the three characteristics of D.C. Series motor. |  |
| b) | - Explain the working principle of three phase induction motor with a diagram. - Define slip. | …….2/- |
|  | -2- |  |
| c) | - Mention four comparisons between squirrel cage motor and slip ring motor. - Explain the method of reversal of direction of rotation of three phase induction motor. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat diagram of shaded pole motor and explain its working. Also mention 2 applications. |  |
| b) | Write short notes on: i) Limit switch ii) Rewireable Fuse. |  |
| c) | With a neat diagram, explain the working of ELCB. |  |

***********