## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Electrical Engg.

Subject: Electrical Engineering Materials(4101) [Old]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | List the factors to be considered for the choice of conductor material. |  |
| b) | List out any four properties of “Nichrome” and state its two uses. |  |
| c) | What are the three groups of resistor materials based on their practical application? Mention the applications of each group. |  |
| d) | State any six merits of semiconductor materials. |  |
| e) | Define dielectric strength. List the factors affecting dielectric strength. |  |
| f) | What is the difference between an insulator and a dielectric? |  |
| g) | Write a short note on “Fuse materials”. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are the main alloys of copper? List out the properties and uses of such alloys. |  |
| b) | List out four properties and two uses of the following conductor materials: i) Tungsten ii) Lead. |  |
| c) | Explain the meaning of the term superconductors and list some of the superconductor materials. Give their area of applications. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a short notes on: i) Photoconductive cells ii) Photovoltaic cells. |  |
| b) | Explain the meaning of Extrinsic and Intrinsic semiconductors. Give two examples of each. |  |
| c) | Explain briefly ‘Hall effect’ and Hall effect generator with diagram. State the application of Hall effect generator. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the classification of capacitors according to the dielectric used in their manufacture. Also list their applications. |  |
| b) | With the help of neat diagram, explain the difference between Polar and Non-Polar materials. |  |
| c) | Explain in brief the conduction through liquid dielectrics. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Briefly explain: i)Quartz or Silica glass ii) Borosilicate glass, their properties and applications. |  |
| b) | Briefly explain any three types of Synthetic Rubber, their properties and applications. |  |
| c) | Compare the properties of Muscovite mica and Phlogopite mica and their uses. |  |
|  |  | …….2/- |
|  | -2- |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the classification of magnetic materials. |  |
| b) | State the properties and application of: i) Soft magnetic materials ii) Hard magnetic materials. |  |
| c) | i) List out the desired properties of materials used for making thermocouple. ii) What is 1) Thermoemf 2) Thermopile . |  |

***********