## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

April, 2015 Examinations

Programme: Civil Engg./CT

Subject: Maintenance of Civil Engineering Structures(5003)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | With reference to maintenance of structures, explain various safety measures to be considered. |  |
| b) | Describe how the anti-termite work is carried out for buildings under construction. |  |
| c) | State various precautionary measures to be considered in installation of lifts for a multistoried structure. |  |
| d) | For proper functioning of drainage lines, state what is the essential maintenance needed. |  |
| e) | Describe how do you carryout repair and maintenance of waterproof works. |  |
| f) | Explain how do you perform the cleaning of water tanks. |  |
| g) | List out various causes, which result in inefficient working of water supply system. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain various types of contracts for maintenance works. Also state their advantages and disadvantages. |  |
| b) | Explain how do you perform the estimate for maintenance of building works. |  |
| c) | i) Distinguish between ‘Emergency maintenance’ and ‘Routine Maintenance’. |  |
|  | ii) Explain how do you carryout treatment for wood works. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain necessary maintenance works needed in respect of: i) Plumbing works ii) Air conditioning work. |  |
| b) | Describe various maintenance works in respect of water treatment plant. |  |
| c) | Explain how the sewer lines are tested and necessary precautions involved in it. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Describe Pre-monsoon and Post-monsoon maintenance works carried out for road works. |  |
| b) | Explain in detail the procedure involved in pothole repair of bituminous roads. |  |
| c) | State defects in concrete roads and necessary remedial measures needed. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Describe various types of lining works carried out for irrigation canals and state their merits. |  |
| b) | Explain in detail how do you carryout maintenance of service roads of irrigations projects. |  |
| c) | What is meant by canal breach? State how do you take necessary precautions to avoid such breaches. | …….2/- |
|  | -2- |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Repairs to filters |  |
| b) | Cement grouting |  |
| c) | Soil Stabilization |  |
| d) | Repairs to roofs |  |

***********