## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2012 Examinations

Programme: Electrical Engg.

Subject: Electrical Engineering Materials(4101)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define “Resistivity”. Write the formula for resistivity and also define Temperature coefficient of resistance. |  |
| b) | List out the properties of mangenin and its area of applications. |  |
| c) | List out any six applications of semiconductor material. |  |
| d) | Define i) Dielectric loss, and factors affecting dielectric loss ii) Relative Permittivity. |  |
| e) | List out the general properties and applications of insulating varnishes. |  |
| f) | Define I) magnetic lines of force ii) Retentivity iii) Residual Magnetism. |  |
| g) | What are Radioactive materials? Give any four applications of Radioactive materials. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | List out the properties of the following materials and hence give their area of applications: i) Zinc ii) lead. |  |
| b) | - State the properties of good conductor material. - List out the properties of “Eureka” as a resistive material. |  |
| c) | Compare Copper and Aluminium as conductors for power transmission lines. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a short note on Photo conductive cells and Photovoltaic cells. Give their areas of applications. |  |
| b) | Explain construction, features and applications of copper oxide rectifiers. |  |
| c) | - Write a short note on strain Guages and their applications. - Write a short note on Piezo-Electric material and their applications. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain in detail Polar and Non-Polar materials with neat diagrams. |  |
| b) | Explain the charging and discharging of Dielectric material. |  |
| c) | Explain the analogy between magnetization of magnetic material and polarization of dielectric materials. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the classification of glasses. Also list out their properties. |  |
| b) | List the various types of Thermosetting resins, their properties and applications. |  |
| c) | Explain i) Volume Resistance ii) Surface Resistance. What is the necessity for impregnating paper or cotton and explain the process of impregnation? | ………2/- |

-2-

| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | Give the classification of magnetic material according to their relative permeability and give example of each. Explain what is curie point. |  |
| b) | What is CRGO? State its application. Explain the affect of impurities on Ferromagnetic materials. |  |
| c) | State the properties and applications of Fluorescent and Phosphorescent materials. |  |

***********