## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2012 Examinations

Programme: Civil Engineering/CT

Subject: Construction-I(4004)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain the preliminaries required to start construction. |  |
| b) | Define bearing capacity and mention the bearing capacity values of any three types of soils. |  |
| c) | State merits of concrete over other materials. |  |
| d) | Write down the characteristics of good building bricks. |  |
| e) | Write down the functions of door and mention the various types of doors used in building. |  |
| f) | List the requirements of good stairs. |  |
| g) | Mention the objects of painting and list the characteristics of an ideal paint. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the methods of setting out of a building. |  |
| b) | What are essentials of good foundation? How will you design width and depth of shallow foundation? |  |
| c) | Define the following with the help of neat sketch: i) Header ii) Stretcher iii) Backing iv) facing v) Hearing vi) Lapping. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain with neat sketch uncoursed rubble masonry and coursed rubble masonry. |  |
| b) | Explain with neat sketch features of flemish bond and its suitability. |  |
| c) | Explain with neat sketch opening in brick work spanned by lintels and arches. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | List different frame sizes of windows. Draw neat sketch of sash window and glazed louvers. |  |
| b) | With a neat sketch explain the terms used in pitched roofs. |  |
| c) | What factors should be considered while selecting a roof covering? List different types of roof covering. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write the construction details of I.P.s flooring and Red-Oxide flooring. |  |
| b) | With the help of neat sketch explain the common terms associated with staircase. |  |
| c) | Explain the procedure of applying distemper to the plastered surface. |  |
| Q.No.6. | Write short notes on any four: | 4 x 3 = 12 |
| a) | Load bearing and framed structures |  |
| b) | Requirements of good floor |  |
| c) | White and coloured glazed flooring |  |
| d) | Scaffolding |  |
| e) | Pointing |  |
| f) | Ingredients of concrete and its function |  |
| g) | Use of synthetic materials for doors & windows |  |

***********