## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2012 Examinations

Programme: Civil Engg./CT

Subject: Public Health Engineering(4015)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define dry refuse, rubbish & garbage. |  |
| b) | What is detention time? What is its significance in Sedimentation Tank? |  |
| c) | What are air relief valves in water mains? |  |
| d) | Name the various sanitary fittings and sketch any one of them. |  |
| e) | Distinguish between aerobic and anaerobic decomposition. |  |
| f) | What are the permissible limits of impurities in drinking water as per IS=2296:1982? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | - Mention the necessity of treatment of drinking water? - State and explain the tests to be conducted to determine the Bacterial and Microscopical characteristics of water supplies. |  |
| b) | What is per capita demand? With aid of graph explain the variation in demand. |  |
| c) | With a neat sketch explain the working of following units in treatment of water: i) Screens ii) Aerator iii) Clari-flocculator. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | List various methods of disinfection and give reasons why chlorination is preferred over the other methods of disinfection. |  |
| b) | What are requirements of a good distribution system? Draw neat sketches of various types of distribution systems. |  |
| c) | With the aid of neat sketch explain house service connection from street mains. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a sketch explain the necessity of providing manhole in a sewer line. |  |
| b) | With a typical layout of sewers in sewerage project explain the principle governing design of such system. |  |
| c) | Draw neat sketches of different types of traps & inspection chambers used for residential building and explain in brief. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat sketch explain the working of following treatment unit in a sewage treatment plant: i) Trickling filter ii) sludge digestor. |  |
| b) | What is Bio-chemical Oxygen Demand (BOD)? What is significance of determining BOD before and after treatment of sewage? |  |
| c) | What are the types of solid wastes? How are they collected & disposed? |  |

………2/-

-2-

| Q.No.6. | Write short notes on any four: | 4 x 3 = 12 |
| --- | --- | --- |
| a) | Importance of environmental protection |  |
| b) | Sources of water supply |  |
| c) | Estimation of water demand |  |
| d) | Types of pipes |  |
| e) | Single stock system of plumbing |  |

***********