## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2012 Examinations

Programme: Electrical Engg.

Subject: Generation & Transmission(4114)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define: i)Demand factor ii)Utilization factor. |  |
| b) | State the specifications required for procurement of diesel generator set. |  |
| c) | Compare RCC support with steel and wooden supports. |  |
| d) | Briefly explain principle of operation of HVDC system. |  |
| e) | Briefly explain classification of overhead transmission lines. |  |
| f) | What do you mean by sag template? |  |
| g) | What is the use of surge tank in case of hydroelectric plants? |  |
| Q.No.2. | Answer any two: | 2 x 6 = 12 |
| a) | A power station has following daily load cycle. Time (hours) 6-8 8-12 12-16 16-20 20-24 24-6 Load (MW) 20 40 60 20 50 20 Plot the load curve and load duration curve. Also Calculate units generated per day and load factor. |  |
| b) | With the help of a neat schematic diagram explain the operation of thermal power plant. |  |
| c) | Discuss the points to be taken into consideration while selecting the number and ratings of units for a given load curve. |  |
| Q.No.3. | Answer any two: | 2 x 6 = 12 |
| a) | Explain in brief the major components of diesel generator set. |  |
| b) | State the advantages of nuclear plant over thermal power plant. |  |
| c) | Describe wind power generation with the help of a neat diagram. |  |
| Q.No.4. | Answer any two: | 2 x 6 = 12 |
| a) | What do you mean by bundle conductors? State their advantages. |  |
| b) | State the reason for failure of insulators and methods to overcome them. |  |
| c) | State the advantage and disadvantages of EHV transmission system. |  |
| Q.No.5. | Answer any two: | 2 x 6 = 12 |
| a) | What do you mean by corona? State and explain methods to reduce corona loss. |  |
| b) | Explain how the characteristics of medium transmission line can be determined using nominal π method. |  |
| c) | A 3 phase 50 Hz, 100km medium transmission line delivers a load of 50MW at 110KV, 0.85 p.f. lagging. The aluminum conductor used has a resistance of 0.05 Ω/km and inductance of 0.6mH/km. The line capacitance is 1.9 microfarad. Determine the sending end voltage and power factor. Also determine receiving end voltage when full load is thrown off. | ….2/- |

-2-

| Q.No.6. | Answer any two: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | Write a short note on vibration dampers. |  |
| b) | Briefly explain erection of tower and stringing of conductors while laying a transmission line. |  |
| c) | Transmission line conductor whose data is given below is subjected to a horizontal wind pressure of 38 kg/m2 of projected area and has radial ice coating. Diameter of the conductor is 18mm and its weight is 844 Kg/km. UTS=7950 Kg. If the maximum permissible sag is 6m, calculate the permissible span between two towers allowing a factor of safety of 2, weight of ice is 913.5 Kg/m3. |  |

***********