## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2014 Examinations

Programme: Electronics Engg./EC/E/E&EE

Subject: Electronic Instrumentation(4141)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | List any six characteristics of a good transducer. |  |
| b) | Explain principle of operation of Thermocouples. |  |
| c) | Explain principle of accelerometer. |  |
| d) | Mention any two methods to measure linear displacement and any 2 methods for measuring low pressure. |  |
| e) | State any four characteristics of an ideal opamp. Define Data Acquisition system. |  |
| f) | Explain steps involved in process control with the help of a block diagram. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain principle of operation and working of LVDT. Also list its advantages. |  |
| b) | Explain principle, construction and applications of Piezoelectric transducers. |  |
| c) | Explain Non–contacting type of Digital transducers. List their applications and advantages. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain working of a photoelectric tachometer with a neat diagram. Also mention its advantages. |  |
| b) | Explain in detail the working of any one transducer used for measurement of vibrations. |  |
| c) | Explain in detail the working of any one device for the measurement of i) Liquid Level ii) Humidity. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the need for signal conditioning with the help of a neat Block diagram of AC signal conditioning. Explain its working. |  |
| b) | Mention the characteristics of a Data Acquisition system. With the help of a neat Block diagram explain a Data Acquisition system. |  |
| c) | Explain working of a Data Logger with a neat Block diagram and mention its characteristics. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Classify various continuous controller modes. Explain any one in detail, with mode equation. |  |
| b) | Explain: i) Two process parameters ii) Two control system parameters iii) Two actuators. |  |
| c) | Write short notes on: i) Synchros ii) Computer supervisory control. |  |
| Q.No.6. | Explain in detail the principle of operation of any two of the following: (i) Nuclear Instrumentation (ii) Magnetic flow meter (iii) Level measurement (iv) Humidity measurement. | (12) |

***********