## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2014 Examinations

Programme: Architectural Engg.

Subject: Building Services-II(4533)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Define Air Conditioning. |  |
| b) | What is the main aim of thermal insulation? |  |
| c) | What happens when sound waves strike the surface of a room? |  |
| d) | What is noise? |  |
| e) | Define Fire load. |  |
| f) | What is the purpose of dehumidification in an Air conditioning system? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are the general rules to be followed for natural ventilation? |  |
| b) | Explain in brief various systems of mechanical ventilation. |  |
| c) | Explain with a diagram the Air distribution system for a multipurpose hall showing its components. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain with sketches, how the thermal insulation of exposed walls is to be achieved. |  |
| b) | State the general methods of thermal insulation. |  |
| c) | Explain the thermal insulation for doors & windows. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss any 6 common acoustical defects. |  |
| b) | What are the requirements of a good acoustical material? |  |
| c) | Explain with a neat diagram the basic requirements for planning of a sound recording studio. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Distinguish between the sound insulation used for vertical barriers & horizontal barriers. |  |
| b) | Explain with neat diagrams any 3 methods of sound insulating a timber floor. |  |
| c) | Explain with a diagram any 3 types of wall construction used for sound insulation. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain with a sketch the fire-protection for a strong room in a bank. |  |
| b) | Draw neat diagrams to explain the fire-resistance of walls and columns. |  |
| c) | Discuss the advantages & disadvantages of natural ventilation & mechanical ventilation. |  |

***********