## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2014 Examinations

Programme: Architectural Engg.

Subject: Building Construction-II(AE206) [Revised Scheme]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Mention the subcomponents of a load bearing structure. |  |
| b) | Define Foundation. |  |
| c) | What is the purpose of dressing a stone masonry. |  |
| d) | What is the advantage of a R.C.C lintel over other material lintels? |  |
| e) | What is lime plaster mortar? |  |
| f) | Why is a lap important in fixing roofing sheets? |  |
| g) | Why is the location of a staircase important in a building? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is the purpose of designing building components using composite materials? |  |
| b) | What does the selection of foundation type & material depend upon? |  |
| c) | Draw a neat sketch of a stone masonry foundation for a wall of 23 cms thick. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are the precautions to be taken while supervising brick masonry construction? |  |
| b) | Differentiate between rubble masonry & ashler masonry with an elevational sketch. |  |
| c) | Draw a neat sketch of a 1 ½ thick English bond brick wall at a L-junction. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw with neat sketches 3 examples of 2-centered arches, marking its centres. |  |
| b) | Differentiate between lintels & arches. |  |
| c) | Draw the elevational sketches of any 3 stone finishes for a stone masonry wall. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the advantages & disadvantages of a cement concrete floor. |  |
| b) | Describe the process of applying plaster coats to the external surface of brickwork. |  |
| c) | Explain some defects in plasterwork. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw and explain with a neat sketch the process of fixing Mangalore tiles on a timber framework. |  |
| b) | Draw neat sketches of different types of turning staircases. |  |
| c) | Draw a plan of a spiral staircase for a height 3.00m & calculate its riser requirements, ensuring sufficient headroom. |  |

***********