## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2014 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-I(MX303) [Revised]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What are the advantages of Oscilloscope as an electronic test instrument? |  |
| b) | What is skin contact impedance? |  |
| c) | Describe medical diagnosis with chemical tests. |  |
| d) | What are the different methods of cell counting? |  |
| e) | What is Spirometer? |  |
| f) | What are the different agents of sterilization? |  |
| Q.No.2. | ### Explain the following with neat block diagram: | 2 x 6 = 12 |
| a) | Multi parameter coulter counter |  |
| b) | Clinical flame photometers |  |
| Q.No.3. | Explain the following: | 2 x 6 = 12 |
| a) | Interaction of radiation with matter |  |
| b) | Microscopic method of cell counting |  |
| Q.No.4. | Explain the following: | 2 x 6 = 12 |
| a) | Electrical conductivity method for cell counting |  |
| b) | Electrical conductivity of electrode jellies & creams with respect to skin contact impedance |  |
| Q.No.5. | Answer the following Questions: | 2 x 6 = 12 |
| a) | What are the types of Pneumotachometers? Describe them in brief. |  |
| b) | Describe microprocessor controlled Spectrophotometer with a neat block diagram. |  |
| Q.No.6. | Attempt any three of the following Questions: | 3 x 4 = 12 |
| a) | What is CRO? Mention its advantages & disadvantages. |  |
| b) | Write in brief on Recording electrodes. |  |
| c) | Explain Nitrogen washout technique. |  |
| d) | Explain cell identification system. |  |
| e) | Write in brief on Area of the flow volume. |  |

***********