## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2014 Examinations

Programme: Electrical & Electronics Engg.

Subject: Fundamentals of Refrigeration & Airconditioning(5090)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | State second law of thermodyanamics. |  |
| b) | State the PH diagram & mention the processes of vapour compression cycle. |  |
| c) | Draw the neat labelled diagram of Electrolux Refrigeration system. |  |
| d) | What is the difference between thermostatic expansion valve and capillary tube? |  |
| e) | What purpose is served by fan in A/C system? How are fans classified? |  |
| f) | What is the difference between Refrigerator & Airconditioners? |  |
| g) | What do you mean by Psychrometry & Psychrometrics? |  |
| Q.No.2. | Answer any three of the following Questions: | 3 x 4 = 12 |
| a) | (i) What is standard rating of a refrigeration machine? (ii) Name the parts of vapour compression system. | (3) (1) |
| b) | Give the comparison between Air-cooled & Water-cooled compressor. |  |
| c) | Define Refrigerant. Name commonly used refrigerants and state their applications. |  |
| d) | How are refrigerants designated? Give example. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of neat sketch explain the working of simple Vapour Absorption system. |  |
| b) | State the merits & demerits of Vapour Compression system. |  |
| c) | (i) What is the difference between wet compression & dry compression? (ii) Which accessories are fitted to simple vapour absorption system to make it more practical? Mention their functions. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | (i) Define the terms Saturated air & Dew point temperature. (ii) What is the effect of sensible heating of moist air on enthalpy, dry bulb temperature & specific humidity? |  |
| b) | Explain briefly with neat sketch a “Sling Psychrometer”. |  |
| c) | With neat sketch describe briefly the following processes: (i) Cooling & dehumidification (ii) Heating & humidification. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With neat sketch explain the construction & working of window airconditioner. |  |
| b) | In an air conditioning control, how does manual control, automatic control & semi-automatic control differ with respect to each other? |  |
| c) | (i) State the applications of domestic refrigerator. (ii) What is the function of limit switch & time switch? | ……..2/- |
|  | -2- |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Air washer |  |
| b) | Cold storage |  |
| c) | Hermetically sealed compressor |  |
| d) | Green House Effect |  |

***********