## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2014 Examinations

Programme: Medical Electronics

Subject: Medical Instruments-III(4196)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Write s short note on Eithoven triangle. |  |
| b) | State any three uses of EEG in diagnosis. |  |
| c) | How a defibrillator can help a person subjected to a sever heart attack? |  |
| d) | Write a note on Lead wires of a pacemaker. |  |
| e) | Distinguish between ‘direct’ and ‘indirect’ blood pressure measurement. |  |
| f) | Describe briefly, radiographic method of measurement of blood flow. |  |
| g) | Give three points of difference between TDM ratio telemetry and FDM ratio telemetry. |  |
| Q.No.2. | What is ECG? With the help of a neat block diagram explain working of ECG machine. | (12) |
|  | ### OR |  |
| Q. No2. | Answer the following: |  |
| a) | Write a short note on EEG. | (6) |
| b) | With a neat diagram explain the working of a DC Defibrillator. | (6) |
| Q.No.3. | Describe the method of direct blood pressure measurement. | (12) |
|  | ### OR |  |
| Q.No.3. | Answer the following: |  |
| a) | Write a short note on rate responsive pacing. | (6) |
| b) | Write a short note on Pneumotachograph. | (6) |
| Q.No.4. | With a neat sketch describe the working principle of an Electromagnetic Blood Flowmeter. | (12) |
| Q.No.5. | Answer the following: | 3 x 4 = 12 |
| a) | Write a short note on Ventillator. |  |
| b) | Explain multi-channel frequency division multiplexing ratio telemetry system. |  |
| c) | Explain the working of ultrasonic blood flowmeter. |  |
| Q.No.6. | Write short note on any three: | 3 x 4 = 12 |
| a) | CMRR |  |
| b) | Spirometer |  |
| c) | Korotkoff Sounds |  |
| d) | Single channel Radio telemetry system |  |

***********