## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2014 Examinations

Programme: Civil Engg./CT

Subject: Construction-II(4009)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What are objects of providing foundations? |  |
| b) | What are cofferdams? How are they different from caissons? |  |
| c) | Mention any five types of partition walls used in building construction. |  |
| d) | Draw a neat sketch of single flying shore. |  |
| e) | Where are hoists & pulley blocks used in construction? |  |
| f) | What is the criteria of providing lighting & ventilation in buildings? |  |
| g) | What anti-termite measures are taken during construction of buildings? |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the process of dewatering of trenches using cement grouting method. |  |
| b) | With aid of neat sketch, explain type of foundations suitable in black cotton soils. |  |
| c) | With neat sketches, explain suitability of different shapes used in combined footing. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Draw a neat sketch of a Grilling foundation and explain its construction details. |  |
| b) | State different types of piles based on: i) Material of construction ii) Load distribution. Explain briefly precast pile. |  |
| c) | State various types of cased cast in situ concrete piles and explain any one in detail. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are pneumatic caisson? Explain different components with help of a neat sketch. |  |
| b) | What is under pinning? State different methods of underpinning. Explain pile method with aid of neat sketch. |  |
| c) | What are requirements of an ideal material for damp proofing? Give example of such materials and mention their salient properties. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What is pre-stressed concrete? Explain briefly the uses of pre-stressed concrete. |  |
| b) | Explain briefly fire protection system used for multistorey buildings. |  |
| c) | Explain working of any two of the following construction machinery and situations under which they are used: i) Stone crushers ii) Tractor iii) Scraper. |  |
| Q.No.6. | Write short notes on any four: | 4 x 3 = 12 |
| a) | Batching plant b) Tower cranes c) Strap footing |  |
| d) | Box sheeting for timbering in trenches e) Monoliths |  |
| f) | Pile Driving Equipment |  |

***********