## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2014 Examinations

Programme: Electrical Engg./E&EE

Subject: Substation Practice(5105)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain in brief what do you mean by (i) Transformer substation (ii) Switching substation. |  |
| b) | What do you mean by bus coupler? What is its function? |  |
| c) | List the general specifications for procurement of C.T.’s. |  |
| d) | What is an isolator? What is it its function in a substation? |  |
| e) | What is a mimic diagram? Give its importance on relay and control panel. |  |
| f) | List and explain in brief three types of traction substations. |  |
| g) | - List any three components of HVDC Substation. - State the importance of alarm in a substation. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain in brief factors to be considered while selecting a site for erecting a substation. |  |
| b) | With the help of a neat diagram explain single sectionalised busbar arrangement. Give any three merits of this arrangement. |  |
| c) | With a neat diagram explain working of clip on ammeter and give its applications. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a short note on PLCC system. |  |
| b) | Explain in brief two part tariff and power factor tariff. |  |
| c) | What are the causes of two power factor? Explain any one method of improving power factor. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain solid earthing with a neat diagram. List any two merits of the same. |  |
| b) | With a neat diagram explain working of a horn gap arrestor. State any two advantages of the same. |  |
| c) | State and explain any six causes of overvoltages in power systems. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Give the points to be considered while selecting a cable for a particular application. |  |
| b) | Explain in brief oil filled cables. |  |
| c) | State the difference between power cables and control cables. |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Write a short note on care and maintenance of lead acid batteries. |  |
| b) | What is silica gel? Give its application? How is it reactivated? |  |
| c) | Write a short note on ‘Preventive maintenance schedule’ for a substation. |  |

***********