## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2014 Examinations

Programme: Food Technology

Subject: Industrial Water & Waste Treatment(4274)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | What do you mean by contact time & residual chlorine? |  |
| b) | Give the characteristics of potable water. |  |
| c) | Write the importance of BOD. |  |
| d) | What is break point chlorination? |  |
| e) | DO (dissolve oxygen) and its limit in water. |  |
| f) | Write in brief the growth phase of P.vivex in mosquito. |  |
| Q.No.2. | Answer the following Questions: | 2 x 6 = 12 |
| a) | What is disinfection? Discuss in detail about various disinfection methods and its parameter for drinking water. |  |
| b) | What are the characteristics of an ideal indicator organism? Write its advantages and its disadvantages. |  |
|  | ### OR |  |
| b) | What do you mean by primary, secondary and tertiary treatment of an industrial effluent? Write in detail the treatment methods used for any of the industrial unit visited by you. |  |
| Q.No.3. | How would you estimate the following: (any four) | 4 x 3 = 12 |
| a) | Total solids of water sample |  |
| b) | Chlorine demand of water sample |  |
| c) | DO of a water sample |  |
| d) | Contamination level by TPC method |  |
| e) | Total Hardness of water sample |  |
| Q.No.4. | Answer the following Questions: | 2 x 6 = 12 |
| a) | What are the common sources of microbial contamination of water? Discuss in detail. |  |
| b) | How would you determine BOD & COD of a given waste water sample? List the precaution you would take while sampling. |  |
|  | ### OR |  |
| b) | Write in brief on the following: i) Filtration ii) Sedimentation iii) Coagulation iv) Clarification. |  |
| Q.No.5. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Discuss the pollution hazard on the disposal of untreated industrial effluent. |  |
| b) | Comment on quality parameters for potable water. Discuss in brief the purification methods. |  |
|  | ### OR |  |
| b) | What do you mean by routine bacteriological analysis of water? Discuss its importance. |  |
| Q.No.6. | Answer the following Questions: | 2 x 6 = 12 |
| a) | Discuss in detail the life cycle of Plasmodium Vivex. Comment on the methods of its growth prevention. |  |
| b) | What are the differences between soft and hard water? Describe the method of softening process of water. |  |
|  | ### OR |  |
| b) | Describe the characteristics of wastewater for Brewery & fish processing industries. |  |