## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2014 Examinations

Programme: Electrical Engg.

Subject: Electrical Engineering Materials(4101) [Old Course]

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Explain the theory of “Superconductivity”. |  |
| b) | List out any four properties of Manganin & state its two uses. |  |
| c) | List out any four properties of “Eureka” & state its two uses. |  |
| d) | Write a short note on “N-type semiconductor material. |  |
| e) | Define “Dielectric loss” and factors affecting it. |  |
| f) | Define the following terms related to insulating material: i) Volume resistance ii) Surface resistance |  |
| g) | State any four properties and two applications of “fluorescent materials”. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | List out any four properties and two uses of following conductors materials i) Silver ii) Nickle. |  |
| b) | - Explain the following terms i) Resistivity ii) Temperature coefficient of resistance. - State any six desired propertied of power cables. |  |
| c) | - List out any six materials used for manufacturing cables. - State any four properties and two uses of Lead. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss briefly liquid crystal display (LCD) and light dependant resistors (LDR) and their area of applications. |  |
| b) | Write a short note on i) Strain gauges ii) Piezo electric materials. |  |
| c) | With a neat diagram explain Selenium rectifiers and give their applications. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the charging and discharging of a dielectric material. Also explain the permittivity of dielectric material. |  |
| b) | Explain in brief the conduction through Gaseous dielectrics with the help of graph between leakage current and applied voltage. |  |
| c) | What is Dielectric loss? Derive an expression for dielectric loss in a dielectric. What are the factors affecting dielectric loss? |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are the different agents that are used in PVC to make it suitable for use as a good insulator? Also list out the characteristics and applications of PVC. |  |
| b) | Explain the classification of “Ceramics”. |  |
| c) | List out the various “coolants “ in Electrical machinery and their area of applications. Also explain the necessity of coolants for electrical machines. |  |
|  |  | ……2/- |
|  | -2- |  |
| Q.No.6. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the following terms related to magnetic material i) Permeability ii) Curie point iii) Coercive force iv) Magnetostriction. |  |
| b) | State the properties required of a magnetic material used for making i) Transformer core ii) Permanent magnets. |  |
| c) | Write short notes on i) Fuse materials ii) Radioactive materials. |  |

***********