## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2014 Examinations

Programme: Civil Engg./CT

Subject: Construction Advanced-III(5007)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any three of the following Questions: | 3 x 5 = 15 |
| --- | --- | --- |
| a) | Explain with an example, the construction with jump forms. |  |
| b) | Explain various methods of detecting ground water table. |  |
| c) | Describe the procedure involved in guniting operation. |  |
| d) | State merits and limitations of reinforced earth construction. |  |
| e) | State the functions and requirements of claddings. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a aid of neat sketch explain, excavation by (i) Cofferdams (ii) Diaphragm walls. |  |
| b) | With the aid of neat sketch explain the construction procedure by using “Slip forms”. |  |
| c) | Describe the following: (i) Lining of chimneys (ii) Fields of application of pre-fabricated elements. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Distinguish between: (i) Form work and false work (ii) Fully supported and partially supported on staging. |  |
| b) | Explain the construction procedure of bridge using “Arch rib constructed with cable supports”. |  |
| c) | Explain the following: (i) Short-crete (ii) Grouting. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain the various methods of drilling borewells and the procedure of insertion of casing. |  |
| b) | Explain the following: (i) Yield of bore well (ii) Jointing in cladding. |  |
| c) | List out various types of claddings used and describe any one type in detail. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the aid of neat sketch, explain the construction and use of “shell roof”. |  |
| b) | Explain with the aid of neat sketch “ North light roof truss”. |  |
| c) | - What are the factors to be considered while constructing with pre-fabricated elements? - Explain the construction details of a pre-fabricated element. |  |
| Q.No.6. | Write short note on any three: | 3 x 4 = 12 |
| a) | Push arm demolition |  |
| b) | Hand demolition |  |
| c) | Demolition by explosives |  |
| d) | Use of geotextiles in earth reinforced construction |  |
| e) | Characteristics of materials used in reinforced construction |  |

***********