## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2014 Examinations

Programme: Electronics & Instrumentation Engg.

Subject: Industrial Instrumentation(4218)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | State the cut off limit for turbulent and laminar flow. |  |
| b) | Compare Dall tube and Venturimeter. |  |
| c) | Explain the tracer dilution method of flow calibration. |  |
| d) | State an application where E/P converter is used. Explain the working of an E/P converter. |  |
| e) | Draw the line diagram to show the relationship between atmospheric, vacuum, absolute and gauge pressure. |  |
| f) | Differentiate between DP Cell and DP transmitter. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of a diagram explain the working of a magnetic flow meter. |  |
| b) | Explain the working of vortex shedding and vortex swirl flow meter with help of suitable diagrams. |  |
| c) | Differentiate between Pitot tube and annubar. |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Explain Seeback effect, law of intermediate metals and intermediate temperature. |  |
| b) | Explain the working of a total radiation pyrometer with the help of a diagram. |  |
| c) | Explain the working of solid expansion type of thermometer. State advantages and disadvantages. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | Discuss angularity and multiplication adjustment in C type Bourdon tube. Also explain the term lost motion. |  |
| b) | Explain the working of a micrometer manometer with the help of a diagram. |  |
| c) | Explain the principle and working of a strain gauge pressure transducer with the help of a diagram. |  |
| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the help of a diagram explain the working of Air Purge system. |  |
| b) | Discuss servicing techniques of different type of level measuring instruments. |  |
| c) | Explain the working of a Capacitive level measuring system with the help of a diagram. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Coriollis principle and mass flow meter |  |
| b) | Closed loop pressure control system |  |
| c) | Weirs |  |
| d) | Differential pressure method of flow measurement |  |

***********