## BOARD OF TECHNICAL EDUCATION

PORVORIM-GOA

November, 2014 Examinations

Programme: Civil Engg./CT

Subject: Public Health Engineering(4015)

# Time Duration: 3 Hrs.                                               Max. Marks:  75

Instructions: 1) All Questions are compulsory.

2) Figures to the right indicate full marks.

3) Assume suitable additional data if required.

| Q.No.1. | Answer any five of the following Questions: | 5 x 3 = 15 |
| --- | --- | --- |
| a) | Draw a neat flow diagram of water treatment plant. |  |
| b) | What is the necessity of detritus tank in sewage treatment plant? |  |
| c) | Mention types of pipes and fittings used in plumbing of internal distribution of water supply in a building. |  |
| d) | What are the general principle governing house drainage. |  |
| e) | Draw a sketch of cascade aerator used in water treatment plants. |  |
| f) | How are the effluents from sewage treatment plants discharged? |  |
| g) | Sketch any two fittings used in house plumbing. |  |
| Q.No.2. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | What are the various source of water used for water supply schemes? Discuss their merits & demerits from quality & quantity point of view. |  |
| b) | Enlist the physical & chemical characteristics of water. Describe any one among each of them clearly indicating the permissible limits as per the Indian standards. |  |
| c) | What is design period in designing water supply scheme? How the population of town is forecasted? |  |
| Q.No.3. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With a neat sketch explain the working of following units in treatments of water: i) Screens ii) Rapid Gravity filters. |  |
| b) | List various methods of disinfection and give reason why chlorination is preferred over other methods of disinfection. |  |
| c) | State the different methods of distribution of water. Discuss the suitability of each. |  |
| Q.No.4. | Answer any two of the following Questions: | 2 x 6 = 12 |
| a) | With the aid of a neat sketch explain house service connection from street mains. |  |
| b) | With a typical layout of sewer in sewerage project explain the principle governing the design of such system. |  |
| c) | Explain the following terms in connection with sewage treatment: i) Domestic sewage ii) Septic Sewage iii) Self cleaning velocity iv) Water carriage system. |  |

………2/-

-2-

| Q.No.5. | Answer any two of the following Questions: | 2 x 6 = 12 |
| --- | --- | --- |
| a) | Draw a neat sketch of septic tank and soak pit and explain their suitability & working. |  |
| b) | With a neat sketch explain the working of following treatment unit in a sewage treatment plant: i) Sludge digester ii)sludge drying beds. |  |
| c) | Explain the methods of collection and disposal of dry refuse. |  |
| Q.No.6. | Write short notes on any three: | 3 x 4 = 12 |
| a) | Role of public Health Engineer |  |
| b) | Protection against water borne disease |  |
| c) | Testing of Pipes. |  |
| d) | Activated sludge process |  |
| e) | Composition of Refuse |  |

***********